## Slide 1: Thermodynamik III
Kältemaschinen, Oxyfuel, Carbon Capture and Storage
HS2021
Dr. Ndaona Chokani

## Slide 2
Vorlesung |  | Übung/Beispiel | 
Datum | Thema | Datum | Thema
09.11 | Prozess des Energieaustausches | 09.11 | Geschwindigkeitsdreiecke
16.11 | Dampfkraftprozesse | 16.11 | Rankine Zyklus
23.11 | Gasarbeitsprozesse - Verbrennungsmotoren | 23.11 | Diesel / Otto Zyklus
30.11 | Gasarbeitsprozesse - Gasturbinenprozesse | 30.11 | Brayton Zyklus
07.12 | Gasarbeitsprozesse - Kombinierten Zyklen | 07.12 | Kombinierter Zyklus
14.12 | Kältemaschinen und Wärmepumpen | 14.12 | Kältemaschine/Wärmepumpe
21.12 | Kältemaschinen Oxyfuel, Carbon Capture and Storage | 21.12 | Wärmepumpe
Overview
2

## Slide 3: Beispiel
Kompressionskältemaschine, Arbeitsmittel: R134a (CF3CH2F)
gesucht:

## Slide 4
Lösung:
Zustand 1:
  Gesättigter reiner Dampf
  p1 = 1.6 bar, Tabelle: h1 = 237.97 kJ/kg, s1 = 0.9295 kJ/kgK
Zustand 2s:
  s2S = s1, p2S = 9 bar, Tabelle -> h2S = 273.73 kJ/kg
  Wirkungsgrad des Verdichters:

## Slide 5
  h2 = 282.67 kJ/kg
  (p2 = 9 bar) Tabelle: s2 = 0.9576 kJ/kgK
Zustand 3:
  p3 = 9 bar, T3 = 32 °C (unterkühlte Flüssigkeit)
  Tabelle: h3 -> hf(32°C) = 94.39 kJ/kg
  Tabelle: s3 -> s3f(32°C) = 0.349 kJ/kgK
Zustand 4:
  h4 = h3, p4 = 1.6 bar
  x4 = 0.3104, s4 = 0.37198 kJ/kgK

## Slide 6
Leistungsziffer:
Entropiebilanz für den Verdichter:
Entropiebilanz für die Drossel:

## Slide 7: Carbon Capture and Storage (CCS)
Capture
Transport
Storage

## Slide 8: Carbon capture
CO2 can be separated from a carbon emission source either before or after it has been combusted to produce energy or other products (cement, steel, etc.). There are three ways to capture CO2 from these combustion processes:
Pre-combustion technology
Post-combustion technology
Oxyfuel combustion
Innovative thermodynamic cycle

## Slide 9: Oxyfuel power plant
Burn carbon based fuels with oxygen
Combustion main products: CO2, H2O
Different cycles have been developed: Water cycle, Graz cycle, and Matiant cycle
Pump

## Slide 10: Oxyfuel power plant schematic
mCO2 = 1000 kg/s

## Slide 11: Performance over pressure ratio
Power required to liquefy and separate oxygen reduces efficiency of cycle
Compared to normal Brayton cycle, Oxyfuel cycle has 7-10% lower efficiency and 15-25 MW lower power output

## Slide 12: Performance over temperature ratio

## Slide 13: Graz cycle
Combination of a high temperature Brayton cycle, and a low temperature Rankine cycle
Brayton
Rankine
To CO2 storage
[H. Jericha, et al., ASME paper GT2003-38120]

## Slide 14
Combustion:
Fuel with high hydrogen content (e.g.: CH4) is mixed in stochiometric ratio with O2
Negligible N2 content  no NOx production
Danger of too high flame temperature (in normal combustion 70% of the gas is just getting heated, but here 100% is reacting), danger of dissociation of the products
Need of cooling medium: CO2 from C3, H2O from HPT
Combustion at 40bar, exit temperature 1400°C, heat released: 1.62MJ/kg
Mixture leaving the combustor of about 74% steam, 25.3% CO2, 0.5% O2, 0.2% N2

## Slide 15
Expansion:
3 turbines, 2 for H2O+CO2, 1 for H2O, total turbine power: 1.25MJ/kg
Compressors and pumps:
3 compressors for CO2, 2 pumps for H2O, total power consumption: 0.21MJ/kg
Heat recovery steam generator (HRSG):
HSRG brings the steam to 180bar and 567°C, cooling the mixture 482°C
Further components:
O2 generator: needs 1.08MJ/(kg of O2) or 50.9kJ/(kg of mixture)
O2 compressor: brings the O2 from atmosphere to burner pressure level, needs 0.87MJ/(kg of O2) or 41kJ/(kg of mixture)
Overall maximum theoretical efficiency:
ηth=ηgen(WHTT+WHPT+WLPT-WC1-WC2-WC3-Wpump1-Wpump2-WO2gen-WO2compr)/Qcomb
= 57.5%

## Slide 16
Comments:
CO2 storage has to be safe
Pilot power plants in Texas and Berlin
The power plant has to be close to the storage point to avoid CO2 transportation costs

## Slide 17
Population in Europe
Difficult to find safe spot for carbon dioxide storage in Europe, due to population density
One option is in the ocean while another is mineralization

## Slide 18
Scenario analysis: How can EU achieve 45% renewable electricity by 2030?
EU targets 45% renewable electricity by 2030
Unlike for 2020 targets, no targets for individual countries are derived for 2030
Which combination of wind and solar, being installed in which locations, will achieve EU target with lowest detrimental effects on cost and security of supply?

## Slide 19
45%-RES study: Optimization target
Optimum shall respect energy policy trilemma: Sustainability, competitiveness and security of supply
Optimization target
Where
  Renewable share
  Curtailment
  Energy capacity factor
  Transmission lines
  Variability of residual load

## Slide 20
Results: Optimal RES portfolio across Europe
To achieve 45% RES target, 221 GW of wind and 82 GW of solar need to be installed across central Europe
 | Installed Wind [GW] | Installed Solar [GW]
AUT | 2 | 12
CZE | 14 | 6
DEU | 60 | 15
FRA | 72 | 9
ITA | 33 | 26
POL | 37 | 2
SUI | 3 | 12
Total | 221 | 82
Optimal RES portfolio to achieve 45% renewable electricity in central Europe by 2030
P Eser, N Chokani, RS Abhari 2017 IEEE Power & Energy Society General Meeting, 1-5

## Slide 21
Results: Transmission grid in Italy limits penetration of solar power
Contribution of solar power to 45% RES goal is limited, because transmission lines between Italy and rest of Europe are bottlenecks

## Slide 22: Exam topics
Velocity triangles for compressors and turbines:
  Relative and absolute velocities
  Work, Power, Δh, Δp
Calculate the thermodynamic properties in the process points around a cycle with and without tables
Draw T-s and p-V diagrams
Use the turbine/compressor efficiency
Calculate work and heat
Calculate the thermal efficiency
Understand issues and potential solutions for carbon capture and storage

## Slide 23: Cycles
Rankine cycle
Otto cycle
Diesel cycle
Brayton cycle
Stirling cycle
Carnot cycle: heat pump / refrigerator
Combined cycles (combination of all the cycles above)